## Pumped Well Info
WELL, TEST, AQUIFER INFORMATION FOR PUMPING WELL
Well Information |  | Test Information |  | Aquifer Information
Well Name: | Galianp | Date of start of test (yyyy-mm-dd): | 2020-10-06 | Aquifer Number: | 320
Well ID Plate Number: | 23204 | Type of test (step test, constant rate test): | constant rate test | Aquifer Lithology | Shale (Nanimo Group)
Well Tag Number: | 91453 | SWL at start of test (m): | 33.48 | Aquifer Type: | Fractured Sedimentary Bedrock
Well Location : | Galiano Island | Reference datum for water level measurements (top of production casing): |  | Depth to upper-most water bearing fracture (m) | 64.62
|  | Was a step-drawdown test performed before the constant rate test? | No

## Pumped Well Data
Pumped Well Data
WTN | 91453 | SWL (m): | 33.480m |  | Average Pumping Rate (m3/day): |  |  | 17.712
Derivative is very noisy due to the amplification of small measuments errors. Derivative will be easier to interpret with a greater L-spacing inverval (3 was chosen)
Time since pumping started, t (min) | Time since pumping stopped, t' (min) | t/t' | Pumping rate, Q (USgpm) | Pumping rate, Q (L/s) | Pumping Rate, Q (m3/day) | Water Level (ft) | Water Level (m) | Drawdown or Residual Drawdown (m) | Extended Drawdown (m) | ln(t) | Dt1 | Dt2 | Ds1 | Ds2 | ds/dt | Dt1 | Dt2 | Ds1 | Ds2 | ds/dt (L-Spacing = 3) | d2s/dt2 | SLEV
0.5 | - | - | pumping rate data not available |  |  | 110.6951 | 33.762 | 0.282 | 0.282 | -0.69315 | #VALUE! | 0.69315 | #VALUE! | 0.228 | #VALUE!
1 | - | - |  |  |  | 111.5144 | 33.99 | 0.51 | 0.51 | 0 | 0.69315 | 0.40547 | 0.228 | 0.23 | 0.47929 | 0.91629 | 0.47 | 0.636 | 0.559 | 1.0214 | 0.54706
1.5 | - | - |  |  |  | 112.269 | 34.22 | 0.74 | 0.74 | 0.40547 | 0.40547 | 0.28768 | 0.23 | 0.207 | 0.65634
2 | - | - |  |  |  | 112.9481 | 34.427 | 0.947 | 0.947 | 0.69315 | 0.28768 | 0.22314 | 0.207 | 0.199 | 0.81656
2.5 | - | - |  |  |  | 113.601 | 34.626 | 1.146 | 1.146 | 0.91629 | 0.22314 | 0.18232 | 0.199 | 0.192 | 0.98056 | 0.47 | 0.40547 | 0.559 | 0.667 | 1.434 | 1.0186
3 | - | - |  |  |  | 114.2309 | 34.818 | 1.338 | 1.338 | 1.0986 | 0.18232 | 0.15415 | 0.192 | 0.189 | 1.1468
3.5 | - | - |  |  |  | 114.851 | 35.007 | 1.527 | 1.527 | 1.2528 | 0.15415 | 0.13353 | 0.189 | 0.178 | 1.2834
4 | - | - |  |  |  | 115.4349 | 35.185 | 1.705 | 1.705 | 1.3863 | 0.13353 | 0.11778 | 0.178 | 0.185 | 1.4593 | 0.40547 | 0.40547 | 0.667 | 0.884 | 1.9126 | 1.0828
4.5 | - | - |  |  |  | 116.0419 | 35.37 | 1.89 | 1.89 | 1.5041 | 0.11778 | 0.10536 | 0.185 | 0.156 | 1.5232
5 | - | - |  |  |  | 116.5537 | 35.526 | 2.046 | 2.046 | 1.6094 | 0.10536 | 0.18232 | 0.156 | 0.326 | 1.5932
6 | - | - |  |  |  | 117.6232 | 35.852 | 2.372 | 2.372 | 1.7918 | 0.18232 | 0.15415 | 0.326 | 0.307 | 1.8983 | 0.40547 | 0.28768 | 0.884 | 0.791 | 2.5133 | 1.5362
7 | - | - |  |  |  | 118.6304 | 36.159 | 2.679 | 2.679 | 1.9459 | 0.15415 | 0.13353 | 0.307 | 0.293 | 2.1002
8 | - | - |  |  |  | 119.5917 | 36.452 | 2.972 | 2.972 | 2.0794 | 0.13353 | 0.11778 | 0.293 | 0.284 | 2.3095
9 | - | - |  |  |  | 120.5235 | 36.736 | 3.256 | 3.256 | 2.1972 | 0.11778 | 0.10536 | 0.284 | 0.276 | 2.5212 | 0.28768 | 0.22314 | 0.791 | 0.711 | 2.9955 | 1.5599
10 | - | - |  |  |  | 121.429 | 37.012 | 3.532 | 3.532 | 2.3026 | 0.10536 | 0.09531 | 0.276 | 0.264 | 2.6985
11 | - | - |  |  |  | 122.2951 | 37.276 | 3.796 | 3.796 | 2.3979 | 0.09531 | 0.087011 | 0.264 | 0.251 | 2.8299
12 | - | - |  |  |  | 123.1186 | 37.527 | 4.047 | 4.047 | 2.4849 | 0.087011 | 0.080043 | 0.251 | 0.244 | 2.9699 | 0.22314 | 0.69315 | 0.711 | 2.694 | 3.3568 | 2.2076
13 | - | - |  |  |  | 123.9191 | 37.771 | 4.291 | 4.291 | 2.5649 | 0.080043 | 0.074108 | 0.244 | 0.23 | 3.077
14 | - | - |  |  |  | 124.6737 | 38.001 | 4.521 | 4.521 | 2.6391 | 0.074108 | 0.068993 | 0.23 | 0.237 | 3.2753
15 | - | - |  |  |  | 125.4512 | 38.238 | 4.758 | 4.758 | 2.7081 | 0.068993 | 0.28768 | 0.237 | 1.029 | 3.4626 | 0.69315 | 0.40547 | 2.694 | 1.811 | 4.2525 | 1.38
20 | - | - |  |  |  | 128.8272 | 39.267 | 5.787 | 5.787 | 2.9957 | 0.28768 | 0.22314 | 1.029 | 0.88 | 3.7834
25 | - | - |  |  |  | 131.7143 | 40.147 | 6.667 | 6.667 | 3.2189 | 0.22314 | 0.18232 | 0.88 | 0.785 | 4.1428
30 | - | - |  |  |  | 134.2897 | 40.932 | 7.452 | 7.452 | 3.4012 | 0.18232 | 0.15415 | 0.785 | 0.696 | 4.4191 | 0.40547 | 0.28768 | 1.811 | 1.141 | 4.1738 | -0.45956
35 | - | - |  |  |  | 136.5731 | 41.628 | 8.148 | 8.148 | 3.5553 | 0.15415 | 0.13353 | 0.696 | 0.604 | 4.5195
40 | - | - |  |  |  | 138.5547 | 42.232 | 8.752 | 8.752 | 3.6889 | 0.13353 | 0.11778 | 0.604 | 0.511 | 4.4251
45 | - | - |  |  |  | 140.2312 | 42.743 | 9.263 | 9.263 | 3.8067 | 0.11778 | 0.10536 | 0.511 | 0.436 | 4.2328 | 0.28768 | 0.55962 | 1.141 | 1.678 | 3.6376 | -3.2398
50 | - | - |  |  |  | 141.6617 | 43.179 | 9.699 | 9.699 | 3.912 | 0.10536 | 0.09531 | 0.436 | 0.42 | 4.2791
55 | - | - |  |  |  | 143.0396 | 43.599 | 10.119 | 10.119 | 4.0073 | 0.09531 | 0.087011 | 0.42 | 0.285 | 3.8153
60 | - | - |  |  |  | 143.9746 | 43.884 | 10.404 | 10.404 | 4.0943 | 0.087011 | 0.22314 | 0.285 | 0.751 | 3.3007 | 0.55962 | 0.539 | 1.678 | 1.547 | 2.9331 | 0.10568 | 1.55
75 | - | - |  |  |  | 146.4385 | 44.635 | 11.155 | 11.155 | 4.3175 | 0.22314 | 0.18232 | 0.751 | 0.171 | 2.0295
90 | - | - |  |  |  | 146.9995 | 44.806 | 11.326 | 11.326 | 4.4998 | 0.18232 | 0.15415 | 0.171 | 0.756 | 3.0871
105 | - | - |  |  |  | 149.4798 | 45.562 | 12.082 | 12.082 | 4.654 | 0.15415 | 0.13353 | 0.756 | 0.27 | 3.3599 | 0.539 | 0.40547 | 1.547 | 0.679 | 2.1879 | -2.8015
120 | - | - |  |  |  | 150.3656 | 45.832 | 12.352 | 12.352 | 4.7875 | 0.13353 | 0.22314 | 0.27 | 0.843 | 2.6793 | [6 empty] | 1.71
150 | - | - |  |  |  | 153.1313 | 46.675 | 13.195 | 13.195 | 5.0106 | 0.22314 | 0.18232 | 0.843 | 0.434 | 3.0088
180 | - | - |  |  |  | 154.5552 | 47.109 | 13.629 | 13.629 | 5.193 | 0.18232 | 0.15415 | 0.434 | 0.216 | 1.8498 | 0.40547 | 0.28768 | 0.679 | 0.288 | 1.2806 | -0.88702 | 41
210 | - | - |  |  |  | 155.2639 | 47.325 | 13.845 | 13.845 | 5.3471 | 0.15415 | 0.13353 | 0.216 | 0.185 | 1.3928
240 | - | - |  |  |  | 155.8708 | 47.51 | 14.03 | 14.03 | 5.4806 | 0.13353 | 0.11778 | 0.185 | 0.278 | 1.9034 | [6 empty] | 2.44
270 | - | - |  |  |  | 156.7829 | 47.788 | 14.308 | 14.308 | 5.5984 | 0.11778 | 0.10536 | 0.278 | 0.075 | 1.4902 | 0.28768 | 0.22314 | 0.288 | -0.072 | 0.2556 | 0.22133
300 | - | - |  |  |  | 157.0289 | 47.863 | 14.383 | 14.383 | 5.7038 | 0.10536 | 0.09531 | 0.075 | -0.003 | 0.32157 | [6 empty] | 2.86
330 | - | - |  |  |  | 157.0191 | 47.86 | 14.38 | 14.38 | 5.7991 | 0.09531 | 0.087011 | -0.003 | 0.216 | 1.2827
360 | - | - |  |  |  | 157.7277 | 48.076 | 14.596 | 14.596 | 5.8861 | 0.087011 | 0.080043 | 0.216 | 0.056 | 1.5538 | 0.22314 | 0.18232 | -0.072 | 0.143 | 0.28656 | -2.1515 | 3.25
390 | - | - |  |  |  | 157.9115 | 48.132 | 14.652 | 14.652 | 5.9661 | 0.080043 | 0.074108 | 0.056 | -0.063 | -0.10507
420 | - | - |  |  |  | 157.7048 | 48.069 | 14.589 | 14.589 | 6.0403 | 0.074108 | 0.068993 | -0.063 | -0.065 | -0.89776 | [6 empty] | 3.41
450 | - | - |  |  |  | 157.4915 | 48.004 | 14.524 | 14.524 | 6.1092 | 0.068993 | 0.064539 | -0.065 | 0.191 | 1.0737 | 0.18232 | 0.15415 | 0.143 | -0.013 | 0.31363 | 0.32533
480 | - | - |  |  |  | 158.1182 | 48.195 | 14.715 | 14.715 | 6.1738 | 0.064539 | 0.060625 | 0.191 | -0.027 | 1.2038 | [6 empty] | 3.32
510 | - | - |  |  |  | 158.0296 | 48.168 | 14.688 | 14.688 | 6.2344 | 0.060625 | 0.057158 | -0.027 | -0.021 | -0.40523
540 | - | - |  |  |  | 157.9607 | 48.147 | 14.667 | 14.667 | 6.2916 | 0.057158 | 0.054067 | -0.021 | 0.138 | 1.1331 | 0.15415 | 0.13353 | -0.013 | 0.078 | 0.27386 | -13.4506 | 2.98
570 | - | - |  |  |  | 158.4134 | 48.285 | 14.805 | 14.805 | 6.3456 | 0.054067 | 0.051293 | 0.138 | -0.068 | 0.56228
600 | - | - |  |  |  | 158.1903 | 48.217 | 14.737 | 14.737 | 6.3969 | 0.051293 | 0.04879 | -0.068 | -0.083 | -1.5181 | [6 empty] | 2.49
630 | - | - |  |  |  | 157.918 | 48.134 | 14.654 | 14.654 | 6.4457 | 0.04879 | 0.04652 | -0.083 | -0.01 | -0.94036 | 0.13353 | 0.22314 | 0.078 | -0.036 | 0.30505 | -5.8332
660 | - | - |  |  |  | 157.8852 | 48.124 | 14.644 | 14.644 | 6.4922 | 0.04652 | 0.044452 | -0.01 | 0.167 | 1.8161 | [6 empty] | 1.38
690 | - | - |  |  |  | 158.4331 | 48.291 | 14.811 | 14.811 | 6.5367 | 0.044452 | 0.04256 | 0.167 | -0.079 | 0.8893
720 | - | - |  |  |  | 158.1739 | 48.212 | 14.732 | 14.732 | 6.5793 | 0.04256 | 0.080043 | -0.079 | -0.117 | -1.7193 | 0.22314 | 0.18232 | -0.036 | -0.014 | -0.1148 | 8.0679 | 1.02
780 | - | - |  |  |  | 157.7901 | 48.095 | 14.615 | 14.615 | 6.6593 | 0.080043 | 0.074108 | -0.117 | 0.202 | 0.71262 | [6 empty] | 1.03
840 | - | - |  |  |  | 158.4528 | 48.297 | 14.817 | 14.817 | 6.7334 | 0.074108 | 0.068993 | 0.202 | -0.121 | 0.40591 | [6 empty] | 1.27
900 | - | - |  |  |  | 158.0558 | 48.176 | 14.696 | 14.696 | 6.8024 | 0.068993 | 0.064539 | -0.121 | 0.116 | 0.081016 | 0.18232 | 0.15415 | -0.014 | 0.083 | 0.25658 | -7.4713 | 1.63
960 | - | - |  |  |  | 158.4364 | 48.292 | 14.812 | 14.812 | 6.8669 | 0.064539 | 0.060625 | 0.116 | -0.052 | 0.42831 | [6 empty] | 2.08
1020 | - | - |  |  |  | 158.2658 | 48.24 | 14.76 | 14.76 | 6.9276 | 0.060625 | 0.057158 | -0.052 | -0.078 | -1.1186 | [6 empty] | 2.49
1080 | - | - |  |  |  | 158.0099 | 48.162 | 14.682 | 14.682 | 6.9847 | 0.057158 | 0.054067 | -0.078 | -0.065 | -1.2812 | 0.15415 | 0.13353 | 0.083 | 0.13 | 0.77159 | 23.6072 | 2.85
1140 | - | - |  |  |  | 157.7966 | 48.097 | 14.617 | 14.617 | 7.0388 | 0.054067 | 0.051293 | -0.065 | -0.047 | -1.0555 | [6 empty] | 3.07
1200 | - | - |  |  |  | 157.6424 | 48.05 | 14.57 | 14.57 | 7.0901 | 0.051293 | 0.04879 | -0.047 | 0.195 | 1.6016 | [6 empty] | 3.02
1260 | - | - |  |  |  | 158.2822 | 48.245 | 14.765 | 14.765 | 7.1389 | 0.04879 | 0.04652 | 0.195 | 0.037 | 2.3579 | 0.13353 | 0.11778 | 0.13 | 0.093 | 0.87581 | 7.7853 | 2.78
1320 | - | - |  |  |  | 158.4036 | 48.282 | 14.802 | 14.802 | 7.1854 | 0.04652 | 0.044452 | 0.037 | -0.098 | -0.73874 | [6 empty] | 2.45
1380 | - | - |  |  |  | 158.0821 | 48.184 | 14.704 | 14.704 | 7.2298 | 0.044452 | 0.04256 | -0.098 | 0.191 | 1.2144 | [6 empty] | 2.11
1440 | - | - |  |  |  | 158.7087 | 48.375 | 14.895 | 14.895 | 7.2724 | 0.04256 | 0.040822 | 0.191 | 0.096 | 3.3975 | 0.11778 | 0.10536 | 0.093 | -0.193 | -0.59408 | -20.9307 | 1.86
1500 | - | - |  |  |  | 159.0237 | 48.471 | 14.991 | 14.991 | 7.3132 | 0.040822 | 0.039221 | 0.096 | 0.019 | 1.3994 | [6 empty] | 1.81
1560 | - | - |  |  |  | 159.086 | 48.49 | 15.01 | 15.01 | 7.3524 | 0.039221 | 0.03774 | 0.019 | -0.022 | -0.059512 | [6 empty] | 1.97
1620 | - | - |  |  |  | 159.0138 | 48.468 | 14.988 | 14.988 | 7.3902 | 0.03774 | 0.036368 | -0.022 | 0.087 | 0.93221 | 0.10536 | 0.12516 | -0.193 | 0.794 | 1.9048 | 25.1511 | 2.33
1680 | - | - |  |  |  | 159.2992 | 48.555 | 15.075 | 15.075 | 7.4265 | 0.036368 | 0.035091 | 0.087 | -0.186 | -1.5228 | [6 empty] | 2.71
1740 | - | - |  |  |  | 158.689 | 48.369 | 14.889 | 14.889 | 7.4616 | 0.035091 | 0.033902 | -0.186 | -0.094 | -4.0148 | [6 empty] | 3.04
1800 | - | - |  |  |  | 158.3806 | 48.275 | 14.795 | 14.795 | 7.4955 | 0.033902 | 0.03279 | -0.094 | 0.319 | 3.5821 | 0.12516 | 0.084557 | 0.794 | 0.172 | 3.7717 | 26.0509 | 3.28
1860 | - | - |  |  |  | 159.4272 | 48.594 | 15.114 | 15.114 | 7.5283 | 0.03279 | 0.031749 | 0.319 | -0.007 | 4.6738 | [6 empty] | 3.35
1920 | - | - |  |  |  | 159.4042 | 48.587 | 15.107 | 15.107 | 7.5601 | 0.031749 | 0.060625 | -0.007 | 0.482 | 2.5879 | [6 empty] | 3.06
2040 | - | - |  |  |  | 160.9856 | 49.069 | 15.589 | 15.589 | 7.6207 | 0.060625 | 0.028988 | 0.482 | 0.183 | 6.8428 | 0.084557 | 0.077962 | 0.172 | -0.074 | 0.48193 | -77.3405 | 2.61
2100 | - | - |  |  |  | 161.586 | 49.252 | 15.772 | 15.772 | 7.6497 | 0.028988 | 0.028171 | 0.183 | -0.164 | 0.15903 | [6 empty] | 2.03
2160 | - | - |  |  |  | 161.0479 | 49.088 | 15.608 | 15.608 | 7.6779 | 0.028171 | 0.027399 | -0.164 | 0.153 | -0.039515 | [6 empty] | 1.4
2220 | - | - |  |  |  | 161.5499 | 49.241 | 15.761 | 15.761 | 7.7053 | 0.027399 | 0.026668 | 0.153 | -0.129 | 0.30305 | 0.077962 | 0.072321 | -0.074 | -0.224 | -2.0636 | -74.7949 | 0.8
2280 | - | - |  |  |  | 161.1266 | 49.112 | 15.632 | 15.632 | 7.7319 | 0.026668 | 0.025975 | -0.129 | 0.206 | 1.6307 | [6 empty] | 0.68
2340 | - | - |  |  |  | 161.8025 | 49.318 | 15.838 | 15.838 | 7.7579 | 0.025975 | 0.025318 | 0.206 | -0.151 | 0.89411 | [6 empty] | 0.73
2400 | - | - |  |  |  | 161.3071 | 49.167 | 15.687 | 15.687 | 7.7832 | 0.025318 | 0.024693 | -0.151 | -0.126 | -5.5281 | 0.072321 | 0.067441 | -0.224 | 0.082 | -0.86543 | 49.1962 | 1.1
2460 | - | - |  |  |  | 160.8937 | 49.041 | 15.561 | 15.561 | 7.8079 | 0.024693 | 0.024098 | -0.126 | -0.044 | -3.4443 | [6 empty] | 1.47
2520 | - | - |  |  |  | 160.7494 | 48.997 | 15.517 | 15.517 | 7.832 | 0.024098 | 0.02353 | -0.044 | -0.054 | -2.0632 | [6 empty] | 2.04
2580 | - | - |  |  |  | 160.5722 | 48.943 | 15.463 | 15.463 | 7.8555 | 0.02353 | 0.02299 | -0.054 | -0.038 | -1.9702 | 0.067441 | 0.063179 | 0.082 | 0.824 | 7.3221 | 56.2314 | 2.56
2640 | - | - |  |  |  | 160.4475 | 48.905 | 15.425 | 15.425 | 7.8785 | 0.02299 | 0.022473 | -0.038 | 0.25 | 4.8084 | [6 empty] | 2.97
2700 | - | - |  |  |  | 161.2677 | 49.155 | 15.675 | 15.675 | 7.901 | 0.022473 | 0.021979 | 0.25 | -0.13 | 2.5102 | [6 empty] | 3.25
2760 | - | - |  |  |  | 160.8412 | 49.025 | 15.545 | 15.545 | 7.923 | 0.021979 | 0.021506 | -0.13 | 0.202 | 1.8221 | 0.063179 | 0.059423 | 0.824 | -0.384 | 2.9914 | 10.4789 | 3.18
2820 | - | - |  |  |  | 161.5039 | 49.227 | 15.747 | 15.747 | 7.9445 | 0.021506 | 0.021053 | 0.202 | 0.306 | 11.9909 | [6 empty] | 3.01
2880 | - | - |  |  |  | 162.5079 | 49.533 | 16.053 | 16.053 | 7.9655 | 0.021053 | 0.020619 | 0.306 | 0.316 | 14.9341 | [6 empty] | 2.7
2940 | - | - |  |  |  | 163.5446 | 49.849 | 16.369 | 16.369 | 7.9862 | 0.020619 | 0.020203 | 0.316 | -0.204 | 2.4842 | 0.059423 | 0.056089 | -0.384 | -0.02 | -3.3212 | -48.8227 | 2.45
3000 | - | - |  |  |  | 162.8753 | 49.645 | 16.165 | 16.165 | 8.0064 | 0.020203 | 0.019803 | -0.204 | -0.014 | -5.3554 | [6 empty] | 2.26
3060 | - | - |  |  |  | 162.8294 | 49.631 | 16.151 | 16.151 | 8.0262 | 0.019803 | 0.019418 | -0.014 | -0.166 | -4.6663 | [6 empty] | 2.21
3120 | - | - |  |  |  | 162.2848 | 49.465 | 15.985 | 15.985 | 8.0456 | 0.019418 | 0.019048 | -0.166 | 0.144 | -0.41703 | 0.056089 | 0.05311 | -0.02 | -0.981 | -9.661 | -683.9624 | 2.4
3180 | - | - |  |  |  | 162.7572 | 49.609 | 16.129 | 16.129 | 8.0646 | 0.019048 | 0.018692 | 0.144 | -0.134 | 0.12601 | [6 empty] | 2.68
3240 | - | - |  |  |  | 162.3176 | 49.475 | 15.995 | 15.995 | 8.0833 | 0.018692 | 0.018349 | -0.134 | -0.03 | -4.3763 | [6 empty] | 3.05
3300 | - | - |  |  |  | 162.2192 | 49.445 | 15.965 | 15.965 | 8.1017 | 0.018349 | 0.018019 | -0.03 | -1.356 | -38.7801 | 0.05311 | 0.050431 | -0.981 | 1.106 | 2.2526 | 1389.1844 | 3.26
3360 | - | - |  |  |  | 157.7704 | 48.089 | 14.609 | 14.609 | 8.1197 | 0.018019 | 0.0177 | -1.356 | 0.356 | -27.1455 | [6 empty] | 3.38
3420 | - | - |  |  |  | 158.9384 | 48.445 | 14.965 | 14.965 | 8.1374 | 0.0177 | 0.017392 | 0.356 | 0.019 | 10.5195 | [6 empty] | 3.31
3480 | - | - |  |  |  | 159.0007 | 48.464 | 14.984 | 14.984 | 8.1548 | 0.017392 | 0.017094 | 0.019 | 1.168 | 34.9992 | 0.050431 | 0.048009 | 1.106 | -0.069 | 9.9595 | -834.936 | 2.91
3540 | - | - |  |  |  | 162.8327 | 49.632 | 16.152 | 16.152 | 8.1719 | 0.017094 | 0.016807 | 1.168 | -0.008 | 33.6336 | [6 empty] | 2.39
3600 | - | - |  |  |  | 162.8064 | 49.624 | 16.144 | 16.144 | 8.1887 | 0.016807 | 0.016529 | -0.008 | -0.054 | -1.8831 | [6 empty] | 1.72
3660 | - | - |  |  |  | 162.6293 | 49.57 | 16.09 | 16.09 | 8.2052 | 0.016529 | 0.016261 | -0.054 | -0.177 | -7.1073 | 0.048009 | 0.04581 | -0.069 | -0.271 | -3.729 | 130.0122 | 1.06
3720 | - | - |  |  |  | 162.0486 | 49.393 | 15.913 | 15.913 | 8.2215 | 0.016261 | 0.016 | -0.177 | -0.01 | -5.7137 | [6 empty] | 0.58
3780 | - | - |  |  |  | 162.0157 | 49.383 | 15.903 | 15.903 | 8.2375 | 0.016 | 0.015748 | -0.01 | 0.118 | 3.4661 | [6 empty] | 0.47
3840 | - | - |  |  |  | 162.4029 | 49.501 | 16.021 | 16.021 | 8.2532 | 0.015748 | 0.015504 | 0.118 | -0.141 | -0.86553 | 0.04581 | 0.043803 | -0.271 | 0.08 | -1.958 | 158.4554 | 0.61
3900 | - | - |  |  |  | 161.9403 | 49.36 | 15.88 | 15.88 | 8.2687 | 0.015504 | 0.015267 | -0.141 | -0.095 | -7.6473 | [6 empty] | 1.05
3960 | - | - |  |  |  | 161.6286 | 49.265 | 15.785 | 15.785 | 8.284 | 0.015267 | 0.015038 | -0.095 | -0.035 | -4.2602 | [6 empty] | 1.5
4020 | - | - |  |  |  | 161.5138 | 49.23 | 15.75 | 15.75 | 8.299 | 0.015038 | 0.014815 | -0.035 | 0.222 | 6.3932 | 0.043803 | #VALUE! | 0.08 | 0.018 | #VALUE! | -61.5285 | 2.03
4080 | - | - |  |  |  | 162.2421 | 49.452 | 15.972 | 15.972 | 8.3139 | 0.014815 | 0.014599 | 0.222 | -0.136 | 2.7451 | [6 empty] | 2.59
4140 | - | - |  |  |  | 161.7959 | 49.316 | 15.836 | 15.836 | 8.3285 | 0.014599 | 0.014389 | -0.136 | -0.006 | -4.8342 | [6 empty] | 3
4200 | - | - |  |  |  | 161.7762 | 49.31 | 15.83 | 15.83 | 8.3428 | 0.014389 | 0.014185 | -0.006 | 0.11 | 3.6981 | #VALUE! | #VALUE! | 0.018 | -0.723 | #VALUE! | #VALUE! | 3.27
4260 | - | - |  |  |  | 162.1371 | 49.42 | 15.94 | 15.94 | 8.357 | 0.014185 | 0.013986 | 0.11 | 0.177 | 10.2223 | [6 empty] | 3.21
4320 | - | - |  |  |  | 162.7178 | 49.597 | 16.117 | 16.117 | 8.371 | 0.013986 | #VALUE! | 0.177 | -0.269 | #VALUE! | [6 empty] | 3.06
4320.5 | 0.5 | 8641 |  |  |  | 161.8353 | 49.328 | 15.848 | 16.13 | ln(t/t') | D(t/t')1 | D(t/t')2 | Ds1 | Ds2 | ds/d(t/t') | D(t/t')1 | D(t/t')2 | Ds1 | Ds2 | ds/d(t/t') (L-Spacing = 3) | d2s/d(t/t')2
4321 | 1 | 4321 |  |  |  | 160.9889 | 49.07 | 15.59 | 16.1 | 8.3712 | #VALUE! | -0.40535 | -0.258 | -0.238 | #VALUE! | -0.90903 | -0.49997 | -0.665 | -0.595 | 1.0274 | #VALUE!
4321.5 | 1.5 | 2881 |  |  |  | 160.208 | 48.832 | 15.352 | 16.092 | 7.9659 | -0.40535 | -0.28757 | -0.238 | -0.227 | 0.70545
4322 | 2 | 2161 |  |  |  | 159.4633 | 48.605 | 15.125 | 16.072 | 7.6783 | -0.28757 | -0.21611 | -0.227 | -0.2 | 0.86707
4352.5 | 2.5 | 1741 |  |  |  | 158.8071 | 48.405 | 14.925 | 16.071 | 7.4622 | -0.21611 | -0.18912 | -0.2 | -0.208 | 1.0184 | -0.49997 | -0.3816 | -0.595 | -0.73 | 1.6001 | 1.3453
4323 | 3 | 1441 |  |  |  | 158.1247 | 48.197 | 14.717 | 16.055 | 7.2731 | -0.18912 | -0.15404 | -0.208 | -0.212 | 1.2522
4323.5 | 3.5 | 1235.2857 |  |  |  | 157.4292 | 47.985 | 14.505 | 16.032 | 7.1191 | -0.15404 | -0.15681 | -0.212 | -0.175 | 1.2473
4224 | 4 | 1056 |  |  |  | 156.855 | 47.81 | 14.33 | 16.035 | 6.9622 | -0.15681 | -0.094269 | -0.175 | -0.192 | 1.691 | -0.3816 | -0.40477 | -0.73 | -0.933 | 2.1032 | 0.91539
4324.5 | 4.5 | 961 |  |  |  | 156.2251 | 47.618 | 14.138 | 16.028 | 6.868 | -0.094269 | -0.10524 | -0.192 | -0.179 | 1.878
4325 | 5 | 865 |  |  |  | 155.6379 | 47.439 | 13.959 | 16.005 | 6.7627 | -0.10524 | -0.18209 | -0.179 | -0.359 | 1.8
4326 | 6 | 721 |  |  |  | 154.4601 | 47.08 | 13.6 | 15.972 | 6.5806 | -0.18209 | -0.15392 | -0.359 | -0.323 | 2.0403 | -0.40477 | -0.28699 | -0.933 | -0.811 | 2.6098 | 1.3449
4327 | 7 | 618.1429 |  |  |  | 153.4004 | 46.757 | 13.277 | 15.956 | 6.4267 | -0.15392 | -0.1333 | -0.323 | -0.319 | 2.2564
4328 | 8 | 541 |  |  |  | 139.314 | 46.438 | 12.958 | 15.93 | 6.2934 | -0.1333 | -0.11755 | -0.319 | -0.291 | 2.4369
4329 | 9 | 481 |  |  |  | 151.3991 | 46.147 | 12.667 | 15.923 | 6.1759 | -0.11755 | -0.10513 | -0.291 | -0.282 | 2.5847 | -0.28699 | -0.22245 | -0.811 | -0.701 | 3.0092 | 1.9167
4330 | 10 | 433 |  |  |  | 150.4739 | 45.865 | 12.385 | 15.917 | 6.0707 | -0.10513 | -0.095079 | -0.282 | -0.252 | 2.6656
4331 | 11 | 393.7273 |  |  |  | 149.6471 | 45.613 | 12.133 | 15.929 | 5.9757 | -0.095079 | -0.086781 | -0.252 | -0.277 | 2.9335
4332 | 12 | 361 |  |  |  | 148.7383 | 45.336 | 11.856 | 15.903 | 5.8889 | -0.086781 | -0.079812 | -0.277 | -0.246 | 3.1348 | -0.22245 | -0.68969 | -0.701 | -2.533 | 3.2784 | 0.88094
4333 | 13 | 333.3077 |  |  |  | 147.9313 | 45.09 | 11.61 | 15.901 | 5.8091 | -0.079812 | -0.073877 | -0.246 | -0.229 | 3.0913
4334 | 14 | 309.5714 |  |  |  | 147.18 | 44.861 | 11.381 | 15.902 | 5.7352 | -0.073877 | -0.068762 | -0.229 | -0.226 | 3.1966
4335 | 15 | 289 |  |  |  | 146.4385 | 44.635 | 11.155 | 15.913 | 5.6664 | -0.068762 | -0.28653 | -0.226 | -1.007 | 3.3308 | -0.68969 | -0.40202 | -2.533 | -1.342 | 3.4613 | 0.25614
4340 | 20 | 217 |  |  |  | 143.1347 | 43.628 | 10.148 | 15.935 | 5.3799 | -0.28653 | -0.22199 | -1.007 | -0.856 | 3.7069
4345 | 25 | 173.8 |  |  |  | 140.3264 | 42.772 | 9.292 | 15.959 | 5.1579 | -0.22199 | -0.18117 | -0.856 | -0.67 | 3.7691
4350 | 30 | 145 |  |  |  | 138.1282 | 42.102 | 8.622 | 16.074 | 4.9767 | -0.18117 | -0.153 | -0.67 | -0.512 | 3.5074 | -0.40202 | -0.28425 | -1.342 | -1.014 | 3.4724 | -0.55371
4355 | 35 | 124.4286 |  |  |  | 136.4485 | 41.59 | 8.11 | 16.258 | 4.8237 | -0.153 | -0.13238 | -0.512 | -0.469 | 3.4516
4360 | 40 | 109 |  |  |  | 134.9098 | 41.121 | 7.641 | 16.393 | 4.6913 | -0.13238 | -0.11664 | -0.469 | -0.361 | 3.3047
4365 | 45 | 97 |  |  |  | 133.7254 | 40.76 | 7.28 | 16.543 | 4.5747 | -0.11664 | -0.10422 | -0.361 | -0.36 | 3.2848 | -0.28425 | -0.54939 | -1.014 | -1.905 | 3.5332 | -11.9701
4370 | 50 | 87.4 |  |  |  | 132.5443 | 40.4 | 6.92 | 16.619 | 4.4705 | -0.10422 | -0.094167 | -0.36 | -0.791 | 6.0524
4375 | 55 | 79.5455 |  |  |  | 129.9492 | 39.609 | 6.129 | 16.248 | 4.3763 | -0.094167 | -0.085869 | -0.791 | 0.137 | 3.1719
4380 | 60 | 73 |  |  |  | 130.3987 | 39.746 | 6.266 | 16.67 | 4.2905 | -0.085869 | -0.21972 | 0.137 | -0.805 | -0.11768 | -0.54939 | -0.52219 | -1.905 | -1.072 | 2.7422 | 5.2481
4395 | 75 | 58.6 |  |  |  | 127.7576 | 38.941 | 5.461 | 16.616 | 4.0707 | -0.21972 | -0.17891 | -0.805 | -0.604 | 3.5051
4410 | 90 | 49 |  |  |  | 125.776 | 38.337 | 4.857 | 16.183 | 3.8918 | -0.17891 | -0.15076 | -0.604 | -0.496 | 3.3293
4425 | 105 | 42.1429 |  |  |  | 124.1488 | 37.841 | 4.361 | 16.443 | 3.7411 | -0.15076 | -0.13015 | -0.496 | -0.301 | 2.7656 | -0.52219 | -0.38566 | -1.072 | 0.116 | 0.69908 | -2.0341
4440 | 120 | 37 |  |  |  | 123.1612 | 37.54 | 4.06 | 16.412 | 3.6109 | -0.13015 | -0.21641 | -0.301 | -0.419 | 2.1713
4470 | 150 | 29.8 |  |  |  | 121.7866 | 37.121 | 3.641 | 16.836 | 3.3945 | -0.21641 | -0.17563 | -0.419 | -0.352 | 1.9737
4500 | 180 | 25 |  |  |  | 120.6317 | 36.769 | 3.289 | 16.918 | 3.2189 | -0.17563 | -0.14751 | -0.352 | -0.214 | 1.7034 | -0.38566 | -0.26826 | 0.116 | -3.405 | 7.3623 | 2.5423
4530 | 210 | 21.5714 |  |  |  | 119.9296 | 36.555 | 3.075 | 16.92 | 3.0714 | -0.14751 | -0.12693 | -0.214 | -0.36 | 2.1954
4560 | 240 | 19 |  |  |  | 118.7486 | 36.195 | 2.715 | 16.745 | 2.9444 | -0.12693 | -0.11123 | -0.36 | 0.69 | -1.9818
4590 | 270 | 17 |  |  |  | 121.0123 | 36.885 | 3.405 | 17.713 | 2.8332 | -0.11123 | -0.098846 | 0.69 | -1.046 | 2.6839 | -0.26826 | -2.5649 | -3.405 | 0 | 11.4909 | #REF!
4620 | 300 | 15.4 |  |  |  | 117.5806 | 35.839 | 2.359 | 16.742 | 2.7344 | -0.098846 | -0.088838 | -1.046 | -0.154 | 5.9219
4650 | 330 | 14.0909 |  |  |  | 117.0753 | 35.685 | 2.205 | 16.585 | 2.6455 | -0.088838 | -0.08058 | -0.154 | -2.205 | 15.1733
4680 | 360 | 13 |  |  |  | 116.3306 | 35.458 |  | 14.596 | 2.5649 | -0.08058 | #REF! | -2.205 | 0 | #REF! | -2.5649 | 0 | 0 | 0 | #DIV/0! | #REF!

## Hydraulic Paramaters
Aquifer Hydraulic Paramaters | [12 empty] | Well Hydraulic Paramaters
| Theis Curve-Matching Method |  |  |  | Cooper-Jacob Straight Line Method |  |  |  | Theis Recovery Method |  |  |  |  | Long Term Yield (100 day method)
|  | Equations |  |  |  | Equations |  |  |  | Equations |  |  |  |  | Equations
| T = ( Q * W (u) ) / ( 4 * pi * s ) |  |  |  | T = ( 2.3 * Q ) / ( 4 * pi * slope ) |  |  |  | T = ( 2.3 * Q ) / ( 4 * pi * slope ) |  |  |  |  | Q100 = SAD*SC = 0.7*Available DD*Q/100 Day DD
| S = ( u * 4 * T * t ) / r^2 |  |  |  | S = ( 2.25 * T * to ) / r^2 |  |  |  | S = ( 2.25 * T * to ) / r^2
Available DD = SWL-Water bearing fracture
|  | Variables |  |  |  | Variables |  |  |  | Variables |  |  |  |  | Variables
| Note: Data does not fit type curve for 1/u values <10000 |  |  |  | Note: Taken from radial flow time segment |  |  |  | Note: Taken from radial flow time segment |  |  |  |  | Q (Discharge Rate) |  | 17.71 | m3/day
[14 empty] | 100 Day DD |  | 16.5 | m
| Match Point |  |  |  | Slope is for 1 log10 cycle of time |  |  |  | Slope is for 1 log10 cycle of time |  |  |  |  | Well Depth |  | 75.3 | m
| s (Drawdown) |  | 10 | m | Q (Discharge Rate) |  | 17.71 | m3/day | [5 empty] | SWL |  | 33.48 | m
| t (time) |  | 40 | min | slope (ds/dlog(t)) |  | 9.2 | m | Q (Discharge Rate) |  | 17.71 | m3/day |  | Water bearing fracture depth |  | 64.62 | m
| W(u) |  | 2.2 |  | to (Intercept Time) |  | N/A |  | slope (ds/dlog(t/t')) |  | 8.1 | m
| 1/u |  | 5 |  | r (Radius) |  | N/A |  | to (Intercept Time)
r (Radius)
| Q ((Discharge Rate) |  | 17.71 | m3/day
| r (Radius) |  | N/A | m
| T (Transmissivity) |  | 0.3101 | m2/day | T (Transmissivity) |  | 0.3523 | m2/day | T (Transmissivity) |  | 0.4027 | m2/day |  | Q100 |  | 23.3965 | m3/day
| S (Storativity) |  | N/A |  | S (Storativity) |  | N/A |  | S (Storativity) |  | N/A
100 Day Drawdown = 16.5 m
100 Days
ds/d(log(t/t')) = 8.1 m
Match Point